## Slide 1: DIGITAL RADIOGRAPHY
3rd grade-ishik university

## Slide 2: DIGITAL RADIOGRAPHY
Digital image: An electronic image results from an electronic interaction (sensor in pt. mouth) with x-ray and processed by a computer.
There are two basic mechanisms of digital radiography:
1. Direct digital imaging: involves the use of a sensor that is directly wired to the computer, such as CCD.
2. Indirect digital imaging involve the use of photo-phosphor plates that are activated using x-ray ,then scanned in special devices that read the image. The image then displayed on the computer monitor, such as PSPP.

## Slide 3
Direct digital imaging

## Slide 4
Indirect digital imaging

## Slide 5: Dental Imaging Examples
Intraoral devices
Panoramic dental systems
Head imaging
Cone Beam CT
Visible Light applications

## Slide 6
INTRAORAL X-RAY OPTIONS
CMOS
CCD
CCD
FILM
IP

## Slide 7
#2 #1 #0
Standard
&
High
Resolution
High
Standard
High Resolution = 22.5 Standard = 45

## Slide 9: Advantages/Disadvantages Radiographs vs. Digital Images
portable
not portable*
familiar
can be viewed by all
initially inexpensive
must send by mail
one viewer or duplicate (duplitized)
new technology*
must have hardware/software
inexpensive after initial investment
transmissible by wire*
viewed simultaneously

## Slide 10: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 11: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 12: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 13: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 14: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 15: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 16: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 17: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 18: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 19: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 20: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 21: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 22: Advantages/Disadvantages Digital Images: new technology = uncertainty

## Slide 23: Advantages/Disadvantages Radiographs vs. Digital Images
no inherent measurements
software driven measurements
film size similar to beam size
film covers larger area
receptor size smaller than beam size (DR/cable systems)
receptor covers smaller area (DR/cable systems)

## Slide 24: Advantages/Disadvantages Radiographs vs. Digital Images
EPA film disposal
no film disposal
EPA chemical/silver disposal/recovery
film placement is easy
easy to view multiple images (shuffling)
no chemicals
cable connection interferes with placement (CCD)
awkward to view multiple images (shuffling)

## Slide 25: Advantages/Disadvantages Radiographs vs. Digital Images
caries detection
caries detection*
periodontal bone loss
periapical bone loss
complete mouth survey
bony lesions
poor for soft tissue lesions
periodontal bone loss
periapical bone loss
complete mouth survey*
bony lesions
soft tissue lesions?

## Slide 26
Status of Current Technology (500 dentist)
30 + different brands of equipment are in use
61% of dentist paid $ 10,000 - $ 30,000 for the system
76% of the dentist in USA would purchase the same system
again
80% of dentist in USA reported that the image quality and
diagnostic capabilities were similar to or better than
conventional radiology
Image enhancement tools used most were: magnify,
enhance, contrast and inverse

## Slide 27
Status of Current Technology (500 dentist)
Major advantages: instant image, patient communication,
image enhancement, no processing, less radiation,
image magnification
Major disadvantages: high cost, uncomfortable sensors,
poor image quality, difficult to learn and implement,
dependent on computer, technical problems
89% of dentist in USA using digital radiology
recommended that colleagues switch to digital now rather
than continue to wait

## Slide 28
Filmless Imaging
1895: Wilhelm Conrad Roentgen  X-rays
Two weeks after: Otto Walkoff: First dental x-ray
ALARA principle
“As low as reasonably achievable”
1980: First digital x-ray sensor for use in dentistry
2006: End of the film-base radiology?

## Slide 29
Digital Imaging:
Most significant advantages:
- Computer-aided image interpretation
- Image enhancement
- Image archiving
- Image retrieval

## Slide 30
Digital Imaging
More Advantages
Chemical processing
Hazardous wastes
Images can be transferred electronically
Patient Education
Time
Less Radiation
One thousand more depending of the vendor

## Slide 31
Digital Imaging
Disadvantages
Cost
Susceptible to use and abuse
Obsolete very fast
System crash
Same geometry limitations than conventional
radiology
- Storage and back up

## Slide 32
THANK YOU